## Worksheet
T-Diaphragm Valve Pneumatic closed by resilience EPDM/PTFE diaphragm Butt + IR + HPF-welding PVDF UHP natural
Code: 345
Other versions (opened by resilience / double effective impulse) on request.
Dimension | Code | Detail | da(OD) mm | da1(OD1) mm | da inch | da1 inch | s mm | z mm | Tol+ | Tol- | L mm | Tol+ | Tol- | L1 mm | Tol+ | Tol- | L2 mm | Tol+ | Tol- | s1 mm | d mm | Tol+ | Tol- | d1 mm | d2 mm | Tol+ | Tol- | h mm | Tol+ | Tol- | b mm | t mm | Tol+ | Tol- | DN mm | DN2 mm | K mm | Kv l/min | cv gal | Weight
20/20 | 35.345.2020.21 | 20/20 - SDR21 MOP 10 bar | 20 | 20 | 0,5 | 0,5 | 1,9 | 144 | 1.5 | 1.5 | 164 | 1.5 | 1.5 | 36 | 0.75 | 0.75 | 67 | 0.75 | 0.75 | 1,9 | 169 | 1.5 | 1.5 | 26 | 101 | 1.5 | 1.5 | 13 | 0.75 | 0.75 | 25 | 20 | 1.5 | 1.5 | 15 | 15 | M6 | 0 | 0 | 1.6
25/20 | 35.345.2520.21 | 25/20 - SDR21 MOP 10 bar | 25 | 20 | 0,75 | 0,5 | 1,9 | 144 | 1.5 | 1.5 | 164 | 1.5 | 1.5 | 36 | 0.75 | 0.75 | 67 | 0.75 | 0.75 | 1,9 | 169 | 1.5 | 1.5 | 26 | 101 | 1.5 | 1.5 | 14 | 0.75 | 0.75 | 25 | 20 | 1.5 | 1.5 | 20 | 15 | M6 | 58 | 4,06 | 1.575
25/25 | 35.345.2525.21 | 25/25 - SDR21 MOP 10 bar | 25 | 25 | 0,75 | 0,75 | 1,9 | 144 | 1.5 | 1.5 | 164 | 1.5 | 1.5 | 36 | 0.75 | 0.75 | 70 | 0.75 | 0.75 | 1,9 | 169 | 1.5 | 1.5 | 26 | 101 | 1.5 | 1.5 | 15 | 0.75 | 0.75 | 25 | 20 | 1.5 | 1.5 | 20 | 20 | M6 | 58 | 4,06 | 1.6
32/20 | 35.345.3220.21 | 32/20 - SDR21 MOP 10 bar | 32 | 20 | 1 | 0,5 | 2,4 | 151,5 | 1.5 | 1.5 | 164 | 1.5 | 1.5 | 36 | 0.75 | 0.75 | 58 | 0.75 | 0.75 | 1,9 | 179 | 1.5 | 1.5 | 30 | 101 | 1.5 | 1.5 | 17 | 0.75 | 0.75 | 25 | 20 | 1.5 | 1.5 | 25 | 15 | M6 | 184 | 12,88 | 2.14
32/25 | 35.345.3225.21 | 32/25 - SDR21 MOP 10 bar | 32 | 25 | 1 | 0,75 | 2,4 | 151,5 | 1 | 1 | 164 | 1 | 1 | 36 | 0.5 | 0.5 | 60 | 0.5 | 0.5 | 1,9 | 179 | 1 | 1 | 30 | 101 | 1 | 1 | 17 | 0.5 | 0.5 | 25 | 20 | 1 | 1 | 25 | 20 | M6 | 188 | 13,16 | 2.08
32/32 | 35.345.3232.21 | 32/32 - SDR21 MOP 10 bar | 32 | 32 | 1 | 1 | 2,4 | 151,5 | 1.5 | 1.5 | 164 | 1.5 | 1.5 | 36 | 0.75 | 0.75 | 61 | 0.75 | 0.75 | 2,4 | 179 | 1.5 | 1.5 | 30 | 101 | 1.5 | 1.5 | 18 | 0.75 | 0.75 | 25 | 20 | 1.5 | 1.5 | 25 | 25 | M6 | 195 | 13,65 | 2.07
40/20 | 35.345.4020.21 | 40/20 - SDR21 MOP 10 bar | 40 | 20 | 1,25 | 0,5 | 2,4 | 156,5 | 1.5 | 1.5 | 184 | 1.5 | 1.5 | 46 | 0.75 | 0.75 | 58 | 0.75 | 0.75 | 1,9 | 179 | 1.5 | 1.5 | 35 | 101 | 1.5 | 1.5 | 21 | 0.75 | 0.75 | 25 | 20 | 1.5 | 1.5 | 32 | 15 | M6 | 199 | 13,93 | 2.091
40/25 | 35.345.4025.21 | 40/25 - SDR21 MOP 10 bar | 40 | 25 | 1,25 | 0,75 | 2,4 | 156,5 | 1.5 | 1.5 | 184 | 1.5 | 1.5 | 46 | 0.75 | 0.75 | 60 | 0.75 | 0.75 | 1,9 | 179 | 1.5 | 1.5 | 35 | 101 | 1.5 | 1.5 | 21,5 | 0.75 | 0.75 | 25 | 20 | 1.5 | 1.5 | 32 | 20 | M6 | 205 | 14,35 | 7.068
40/32 | 35.345.4032.21 | 40/32 - SDR21 MOP 10 bar | 40 | 32 | 1,25 | 1 | 2,4 | 156,5 | 1.5 | 1.5 | 184 | 1.5 | 1.5 | 46 | 0.75 | 0.75 | 61 | 0.75 | 0.75 | 2,4 | 179 | 1.5 | 1.5 | 35 | 101 | 1.5 | 1.5 | 21,5 | 0.75 | 0.75 | 25 | 20 | 1.5 | 1.5 | 32 | 25 | M6 | 210 | 14,7 | 2.119
40/40 | 35.345.4040.21 | 40/40 - SDR21 MOP 10 bar | 40 | 40 | 1,25 | 1,25 | 2,4 | 236 | 1.5 | 1.5 | 235 | 1.5 | 1.5 | 46 | 0.75 | 0.75 | 93 | 0.75 | 0.75 | 2,4 | 277 | 1.5 | 1.5 | 47 | 153 | 1.5 | 1.5 | 21,5 | 0.75 | 0.75 | 45 | 47 | 1.5 | 1.5 | 32 | 32 | M6 | 0 | 0 | 7.11
50/20 | 35.345.5020.21 | 50/20 - SDR21 MOP 10 bar | 50 | 20 | 1,5 | 0,5 | 3 | 160,5 | 1.5 | 1.5 | 184 | 1.5 | 1.5 | 46 | 0.75 | 0.75 | 59 | 0.75 | 0.75 | 1,9 | 179 | 1.5 | 1.5 | 39 | 101 | 1.5 | 1.5 | 26,5 | 0.75 | 0.75 | 25 | 20 | 1.5 | 1.5 | 40 | 15 | M6 | 216 | 15,12 | 7.012
50/25 | 35.345.5025.21 | 50/25 - SDR21 MOP 10 bar | 50 | 25 | 1,5 | 0,75 | 3 | 160,5 | 1.5 | 1.5 | 184 | 1.5 | 1.5 | 46 | 0.75 | 0.75 | 60 | 0.75 | 0.75 | 1,9 | 179 | 1.5 | 1.5 | 39 | 101 | 1.5 | 1.5 | 26,5 | 0.75 | 0.75 | 25 | 20 | 1.5 | 1.5 | 40 | 20 | M6 | 220 | 15,4 | 7.18
50/32 | 35.345.5032.21 | 50/32 - SDR21 MOP 10 bar | 50 | 32 | 1,5 | 1 | 3 | 160,5 | 1.5 | 1.5 | 184 | 1.5 | 1.5 | 46 | 0.75 | 0.75 | 61 | 0.75 | 0.75 | 2,4 | 179 | 1.5 | 1.5 | 39 | 101 | 1.5 | 1.5 | 26,5 | 0.75 | 0.75 | 25 | 20 | 1.5 | 1.5 | 40 | 25 | M6 | 228 | 15,96 | 7
50/50 | 35.345.5050.21 | 50/50 - SDR21 MOP 10 bar | 50 | 50 | 1,5 | 1,5 | 3 | 238 | 1.5 | 1.5 | 235 | 1.5 | 1.5 | 46 | 0.75 | 0.75 | 93 | 0.75 | 0.75 | 3 | 288 | 1.5 | 1.5 | 53 | 153 | 1.5 | 1.5 | 26,5 | 0.75 | 0.75 | 45 | 57 | 1.5 | 1.5 | 40 | 40 | M6 | 0 | 0 | 7.375
63/20 | 35.345.6320.21 | 63/20 - SDR21 MOP 10 bar | 63 | 20 | 2 | 0,5 | 3 | 168 | 1.5 | 1.5 | 184 | 1.5 | 1.5 | 46 | 0.75 | 0.75 | 58 | 0.75 | 0.75 | 1,9 | 179 | 1.5 | 1.5 | 46,5 | 101 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 25 | 20 | 1.5 | 1.5 | 50 | 15 | M6 | 227 | 15,89 | 2.151
63/25 | 35.345.6325.21 | 63/25 - SDR21 MOP 10 bar | 63 | 25 | 2 | 0,75 | 3 | 168 | 1.5 | 1.5 | 184 | 1.5 | 1.5 | 46 | 0.75 | 0.75 | 60 | 0.75 | 0.75 | 1,9 | 179 | 1.5 | 1.5 | 46,5 | 101 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 25 | 20 | 1.5 | 1.5 | 50 | 20 | M6 | 233 | 16,31 | 7.26
63/32 | 35.345.6332.21 | 63/32 - SDR21 MOP 10 bar | 63 | 32 | 2 | 1 | 3 | 168 | 1.5 | 1.5 | 184 | 1.5 | 1.5 | 46 | 0.75 | 0.75 | 61 | 0.75 | 0.75 | 2,4 | 179 | 1.5 | 1.5 | 46,5 | 101 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 25 | 20 | 1.5 | 1.5 | 50 | 25 | M6 | 240 | 16,8 | 7.26
63/40 | 35.345.6340.21 | 63/40 - SDR21 MOP 10 bar | 63 | 40 | 2 | 1,25 | 3 | 243 | 1.5 | 1.5 | 236 | 1.5 | 1.5 | 46 | 0.75 | 0.75 | 88,5 | 0.75 | 0.75 | 2,4 | 286 | 1.5 | 1.5 | 60 | 153 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 45 | 57 | 1.5 | 1.5 | 50 | 32 | M8 | 435 | 30,45 | 7.13
63/50 | 35.345.6350.21 | 63/50 - SDR21 MOP 10 bar | 63 | 50 | 2 | 1,5 | 3 | 243 | 1.5 | 1.5 | 236 | 1.5 | 1.5 | 46 | 0.75 | 0.75 | 93,5 | 0.75 | 0.75 | 3 | 286 | 1.5 | 1.5 | 60 | 153 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 45 | 57 | 1.5 | 1.5 | 50 | 40 | M8 | 503 | 35,21 | 7.12
63/63 | 35.345.6363.21 | 63/63 - SDR21 MOP 10 bar | 63 | 63 | 2 | 2 | 3 | 242 | 1.5 | 1.5 | 236 | 1.5 | 1.5 | 46 | 0.75 | 0.75 | 100 | 0.75 | 0.75 | 3 | 286 | 1.5 | 1.5 | 60 | 153 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 45 | 57 | 1.5 | 1.5 | 50 | 50 | M8 | 574 | 40,18 | 7.475
75/25 | 35.345.7525.21 | 75/25 - SDR21 MOP 10 bar | 75 | 25 | 2,5 | 0,75 | 3,6 | 179 | 1.5 | 1.5 | 210 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 60,5 | 0.75 | 0.75 | 1,9 | 184 | 1.5 | 1.5 | 56 | 101 | 1.5 | 1.5 | 23 | 0.75 | 0.75 | 25 | 33 | 1.5 | 1.5 | 65 | 20 | M6 | 243 | 17,01 | 7.43
75/32 | 35.345.7532.21 | 75/32 - SDR21 MOP 10 bar | 75 | 32 | 2,5 | 1 | 3,6 | 179 | 1.5 | 1.5 | 210 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 65 | 0.75 | 0.75 | 2,4 | 184 | 1.5 | 1.5 | 56 | 101 | 1.5 | 1.5 | 23 | 0.75 | 0.75 | 25 | 33 | 1.5 | 1.5 | 65 | 25 | M6 | 250 | 17,5 | 7.4
75/40 | 35.345.7540.21 | 75/40 - SDR21 MOP 10 bar | 75 | 40 | 2,5 | 1,25 | 3,6 | 248 | 1.5 | 1.5 | 210 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 88 | 0.75 | 0.75 | 2,4 | 284 | 1.5 | 1.5 | 65 | 153 | 1.5 | 1.5 | 39 | 0.75 | 0.75 | 45 | 60 | 1.5 | 1.5 | 65 | 32 | M8 | 447 | 31,29 | 7.26
75/50 | 35.345.7550.21 | 75/50 - SDR21 MOP 10 bar | 75 | 50 | 2,5 | 1,5 | 3,6 | 248 | 1.5 | 1.5 | 210 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 93,5 | 0.75 | 0.75 | 3 | 284 | 1.5 | 1.5 | 65 | 153 | 1.5 | 1.5 | 39 | 0.75 | 0.75 | 45 | 60 | 1.5 | 1.5 | 65 | 40 | M8 | 520 | 36,4 | 7.25
75/63 | 35.345.7563.21 | 75/63 - SDR21 MOP 10 bar | 75 | 63 | 2,5 | 2 | 3,6 | 248 | 1.5 | 1.5 | 210 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 100 | 0.75 | 0.75 | 3 | 284 | 1.5 | 1.5 | 65 | 153 | 1.5 | 1.5 | 39 | 0.75 | 0.75 | 45 | 60 | 1.5 | 1.5 | 65 | 50 | M8 | 582 | 40,74 | 7.91
90/20 | 35.345.9020.21 | 90/20 - SDR21 MOP 10 bar | 90 | 20 | 3 | 0,5 | 4,3 | 188 | 1.5 | 1.5 | 210 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 60,5 | 0.75 | 0.75 | 1,9 | 187 | 1.5 | 1.5 | 65 | 101 | 1.5 | 1.5 | 23,5 | 0.75 | 0.75 | 25 | 36 | 1.5 | 1.5 | 80 | 15 | M6 | 0 | 0 | 7.6
90/25 | 35.345.9025.21 | 90/25 - SDR21 MOP 10 bar | 90 | 25 | 3 | 0,75 | 4,3 | 188 | 1.5 | 1.5 | 210 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 60,5 | 0.75 | 0.75 | 1,9 | 187 | 1.5 | 1.5 | 65 | 101 | 1.5 | 1.5 | 23,5 | 0.75 | 0.75 | 25 | 36 | 1.5 | 1.5 | 80 | 20 | M6 | 249 | 17,43 | 7.62
90/32 | 35.345.9032.21 | 90/32 - SDR21 MOP 10 bar | 90 | 32 | 3 | 1 | 4,3 | 188 | 1.5 | 1.5 | 210 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 64 | 0.75 | 0.75 | 2,4 | 187 | 188.5 | 185.5 | 65 | 101 | 1.5 | 1.5 | 23,5 | 0.75 | 0.75 | 25 | 36 | 1.5 | 1.5 | 80 | 25 | M6 | 258 | 18,06 | 7.63
90/40 | 35.345.9040.21 | 90/40 - SDR21 MOP 10 bar | 90 | 40 | 1,25 | 1,25 | 4,3 | 254 | 1.5 | 1.5 | 210 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 88,5 | 0.75 | 0.75 | 2,4 | 286 | 1.5 | 1.5 | 72 | 153 | 1.5 | 1.5 | 46,5 | 0.75 | 0.75 | 45 | 65 | 1.5 | 1.5 | 80 | 32 | M8 | 460 | 32,2 | 7.44
90/50 | 35.345.9050.21 | 90/50 - SDR21 MOP 10 bar | 90 | 50 | 3 | 1,5 | 4,3 | 255 | 1.5 | 1.5 | 210 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 93,5 | 0.75 | 0.75 | 3 | 286 | 1.5 | 1.5 | 72 | 153 | 1.5 | 1.5 | 46,5 | 0.75 | 0.75 | 45 | 65 | 1.5 | 1.5 | 80 | 40 | M8 | 532 | 37,24 | 7.44
90/63 | 35.345.9063.21 | 90/63 - SDR21 MOP 10 bar | 90 | 63 | 3 | 2 | 4,3 | 255 | 1.5 | 1.5 | 210 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 100 | 0.75 | 0.75 | 3 | 286 | 1.5 | 1.5 | 72 | 153 | 1.5 | 1.5 | 46,5 | 0.75 | 0.75 | 45 | 65 | 1.5 | 1.5 | 80 | 50 | M8 | 601 | 42,07 | 7.41
110/20 | 35.345.1120.21 | 110/20 - SDR21 MOP 10 bar | 110 | 20 | 4 | 0,5 | 5,3 | 198 | 1.5 | 1.5 | 210 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 57,5 | 0.75 | 0.75 | 1,9 | 191 | 1.5 | 1.5 | 71 | 101 | 1.5 | 1.5 | 33,5 | 0.75 | 0.75 | 25 | 43 | 1.5 | 1.5 | 100 | 15 | M6 | 0 | 0 | 2.99
110/25 | 35.345.1125.21 | 110/25 - SDR21 MOP 10 bar | 110 | 25 | 4 | 0,75 | 5,3 | 198 | 1.5 | 1.5 | 210 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 57,5 | 0.75 | 0.75 | 1,9 | 191 | 1.5 | 1.5 | 71 | 101 | 1.5 | 1.5 | 33,5 | 0.75 | 0.75 | 25 | 43 | 1.5 | 1.5 | 100 | 20 | M6 | 256 | 17,92 | 2.8
110/32 | 35.345.1132.21 | 110/32 - SDR21 MOP 10 bar | 110 | 32 | 4 | 1 | 5,3 | 198 | 1.5 | 1.5 | 210 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 61 | 0.75 | 0.75 | 2,4 | 191 | 1.5 | 1.5 | 71 | 101 | 1.5 | 1.5 | 33,5 | 0.75 | 0.75 | 25 | 43 | 1.5 | 1.5 | 100 | 25 | M6 | 265 | 18,55 | 2.93
110/40 | 35.345.1140.21 | 110/40 - SDR21 MOP 10 bar | 110 | 40 | 4 | 1,25 | 5,3 | 267 | 1.5 | 1.5 | 210 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 93,5 | 0.75 | 0.75 | 2,4 | 286 | 1.5 | 1.5 | 72 | 153 | 1.5 | 1.5 | 56,5 | 0.75 | 0.75 | 45 | 75 | 1.5 | 1.5 | 100 | 32 | M8 | 0 | 0 | 7.77
110/50 | 35.345.1150.21 | 110/50 - SDR21 MOP 10 bar | 110 | 50 | 4 | 1,5 | 5,3 | 267 | 1.5 | 1.5 | 210 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 93,5 | 0.75 | 0.75 | 3 | 286 | 1.5 | 1.5 | 72 | 153 | 1.5 | 1.5 | 56,5 | 0.75 | 0.75 | 45 | 75 | 1.5 | 1.5 | 100 | 40 | M8 | 548 | 38,36 | 7.77
110/63 | 35.345.1163.21 | 110/63 - SDR21 MOP 10 bar | 110 | 63 | 4 | 2 | 5,3 | 267 | 1.5 | 1.5 | 210 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 100 | 0.75 | 0.75 | 3 | 286 | 1.5 | 1.5 | 72 | 153 | 1.5 | 1.5 | 56,5 | 0.75 | 0.75 | 45 | 75 | 1.5 | 1.5 | 100 | 50 | M8 | 623 | 43,61 | 8.036
90/20 | 35.345.9020.31 | 90/20 - SDR33/21 MOP 10 bar | 90 | 20 | 3 | 0,5 | 2,8 | 188 | 1.5 | 1.5 | 210 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 60,5 | 0.75 | 0.75 | 1,9 | 187 | 1.5 | 1.5 | 65 | 101 | 1.5 | 1.5 | 23,5 | 0.75 | 0.75 | 25 | 36 | 1.5 | 1.5 | 80 | 15 | M6 | 0 | 0 | 7.5
90/25 | 35.345.9025.31 | 90/25 - SDR33/21 MOP 10 bar | 90 | 25 | 3 | 0,75 | 2,8 | 188 | 1.5 | 1.5 | 210 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 60,5 | 0.75 | 0.75 | 1,9 | 187 | 1.5 | 1.5 | 65 | 101 | 1.5 | 1.5 | 23,5 | 0.75 | 0.75 | 25 | 36 | 1.5 | 1.5 | 80 | 20 | M6 | 249 | 17,43 | 7.52
90/32 | 35.345.9032.31 | 90/32 - SDR33/21 MOP 10 bar | 90 | 32 | 3 | 1 | 2,8 | 188 | 1.5 | 1.5 | 210 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 64 | 0.75 | 0.75 | 2,4 | 187 | 1.5 | 1.5 | 65 | 101 | 1.5 | 1.5 | 23,5 | 0.75 | 0.75 | 25 | 36 | 1.5 | 1.5 | 80 | 25 | M6 | 258 | 18,06 | 7.53
90/40 | 35.345.9040.31 | 90/40 - SDR33/21 MOP 10 bar | 90 | 40 | 1,25 | 1,25 | 2,8 | 254 | 1.5 | 1.5 | 210 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 88,5 | 0.75 | 0.75 | 2,4 | 286 | 1.5 | 1.5 | 72 | 153 | 1.5 | 1.5 | 46,5 | 0.75 | 0.75 | 45 | 65 | 1.5 | 1.5 | 80 | 32 | M8 | 460 | 32,2 | 7.35
90/50 | 35.345.9050.31 | 90/50 - SDR33/21 MOP 10 bar | 90 | 50 | 3 | 1,5 | 2,8 | 255 | 1.5 | 1.5 | 210 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 93,5 | 0.75 | 0.75 | 3 | 286 | 1.5 | 1.5 | 72 | 153 | 1.5 | 1.5 | 46,5 | 0.75 | 0.75 | 45 | 65 | 1.5 | 1.5 | 80 | 40 | M8 | 532 | 37,24 | 7.35
90/63 | 35.345.9063.31 | 90/63 - SDR33/21 MOP 10 bar | 90 | 63 | 3 | 2 | 2,8 | 255 | 1.5 | 1.5 | 210 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 100 | 0.75 | 0.75 | 3 | 286 | 1.5 | 1.5 | 72 | 153 | 1.5 | 1.5 | 46,5 | 0.75 | 0.75 | 45 | 65 | 1.5 | 1.5 | 80 | 50 | M8 | 601 | 42,07 | 7.32
110/20 | 35.345.1120.31 | 110/20 - SDR33/21 MOP 10 bar | 110 | 20 | 4 | 0,5 | 3,4 | 198 | 1.5 | 1.5 | 210 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 57,5 | 0.75 | 0.75 | 1,9 | 191 | 1.5 | 1.5 | 71 | 101 | 1.5 | 1.5 | 33,5 | 0.75 | 0.75 | 25 | 43 | 1.5 | 1.5 | 100 | 15 | M6 | 0 | 0 | 2.87
110/25 | 35.345.1125.31 | 110/25 - SDR33/21 MOP 10 bar | 110 | 25 | 4 | 0,75 | 3,4 | 198 | 1.5 | 1.5 | 210 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 57,5 | 0.75 | 0.75 | 1,9 | 191 | 1.5 | 1.5 | 71 | 101 | 1.5 | 1.5 | 33,5 | 0.75 | 0.75 | 25 | 43 | 1.5 | 1.5 | 100 | 20 | M6 | 256 | 17,92 | 2.82
110/32 | 35.345.1132.31 | 110/32 - SDR33/21 MOP 10 bar | 110 | 32 | 4 | 1 | 3,4 | 198 | 1.5 | 1.5 | 210 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 61 | 0.75 | 0.75 | 2,4 | 191 | 1.5 | 1.5 | 71 | 101 | 1.5 | 1.5 | 33,5 | 0.75 | 0.75 | 25 | 43 | 1.5 | 1.5 | 100 | 25 | M6 | 265 | 18,55 | 2.82
110/40 | 35.345.1140.31 | 110/40 - SDR33/21 MOP 10 bar | 110 | 40 | 4 | 1,25 | 3,4 | 267 | 1.5 | 1.5 | 210 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 93,5 | 0.75 | 0.75 | 2,4 | 286 | 1.5 | 1.5 | 72 | 153 | 1.5 | 1.5 | 56,5 | 0.75 | 0.75 | 45 | 75 | 1.5 | 1.5 | 100 | 32 | M8 | 0 | 0 | 7.64
110/50 | 35.345.1150.31 | 110/50 - SDR33/21 MOP 10 bar | 110 | 50 | 4 | 1,5 | 3,4 | 267 | 1.5 | 1.5 | 210 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 93,5 | 0.75 | 0.75 | 3 | 286 | 1.5 | 1.5 | 72 | 153 | 1.5 | 1.5 | 56,5 | 0.75 | 0.75 | 45 | 75 | 1.5 | 1.5 | 100 | 40 | M8 | 548 | 38,36 | 7.64
110/63 | 35.345.1163.31 | 110/63 - SDR33/21 MOP 10 bar | 110 | 63 | 4 | 2 | 3,4 | 267 | 1.5 | 1.5 | 210 | 1.5 | 1.5 | 33 | 0.75 | 0.75 | 100 | 0.75 | 0.75 | 3 | 286 | 1.5 | 1.5 | 72 | 153 | 1.5 | 1.5 | 56,5 | 0.75 | 0.75 | 45 | 75 | 1.5 | 1.5 | 100 | 50 | M8 | 623 | 43,61 | 7.49
04/07/2026 15:07